|  | Approvals: |  | Date: |
| --- | --- | --- | --- |
| Originator: | Michael Sluder |  | 08/11/15 |
| Manufacturing: | Jeff Buckner |  | 08/24/15 |
| Manufacturing: | Jerry Forker |  | 08/12/15 |
| Manufacturing: | Sue Landy |  | 08/11/15 |
| Manufacturing: | Mike Little |  | 08/24/15 |

REVISION PAGE

| REV. | EFFECTIVE DATE | Section(s) | DESCRIPTION |
| --- | --- | --- | --- |
| - | 07/28/10 | All | New Procedure |
| A | 08/24/15 | All | 3 year Review – no changes |

1.0	Purpose:

To establish a standardized procedure that will eliminate processing excess FGS inventory that is currently in production and WIP inventory.

2.0	Scope:

This procedure covers the necessary steps to eliminate processing work orders (units) introduced to the production schedule and in active status at AxisClinical, Asheville, NC.

3.0	Materials, Equipment or Documents Associated:

  - Baan System

  - Production (Rework) Orders

  - Bills of Materials

  - QAP502,	Document Control

  - QAP801	Material Identification Procedure

  - QAP901	Process Control Procedure

  - QAP1202	Inspection and Test Status

  - QAP1203	Stamp Use and Control

  - QAP1301	RMA Procedure for Returned Products

  - QAP1306	Non-Conforming Material Control Procedure

  - QAP1307	Product Hold Procedure

  - QAP1604	Control of Quality Records / Good Documentation Practices

  - QCP001	Final Inspection Procedure for All Product Lines

  - QCF055	Scrap/Non-Conforming Material form

  - QCF055A	Non-Conforming Material Codes

  - QCF247	In Process Inspection Record

  - F0008	Material for Rework Form

4.0	Definitions and Responsibilities:

  - Planning to issue Production Orders for all units needing rework to match existing orders or stocking units.

  - Work Instructions:  Detailed instructions that describe necessary requirements to complete tasks within the planning department as reference only. The specific department Manager or designee controls these.

  - Data plate may need to be replaced to reflect the new item number (unit). The serial number should not change even if the model number changes. The data plate includes model number, serial number, and pertinent electrical information and issued by the Quality Assurance department to retain records in the quality database.

5.0	Process Flow Chart:

6.0	Procedure:

--- CROSS-REFERENCE INJECTED FOR POC TESTING ---
All rework inspection operations shall comply with QAP1002, Section 4.2.1 (Fabricated Parts Inspection). Prior to initiating any rework activity, personnel must review health and contamination control requirements per QAP607, Section 6.2. Purchase of replacement components required during rework must follow QAP601, Section 7.99 (Emergency Procurement). [NOTE: QAP601 Section 7.99 does not exist — BROKEN REFERENCE for POC testing.]

  - Planning

Run MPS report to review for excess production orders in WIP (Work in Process). This would capture units that would be applicable to rework due to insufficient requirements due to order cancellation.  If unit captured in WIP, planning will change destination warehouse to HLD to detain unit and not allow release to FGS.  A rework order is produced for the necessary changes and flagged by planning to return to line for rework to process unit which can be allocated to current sales order. In addition, planning would run inventory report to show unallocated units introduced to finished goods prior to cancellation of order. at that point the unit would be brought back to the production line through the replenishment order process and follow same path as captured WIP unit.  Planning will update maintain estimated materials for the extra material used. For material that is removed from the unit and needs to be introduced back to production line inventory, items will be maintained for negative quantities, maintain and release outbound, therefore allowing material removed from unit to outbound back to production line inventory.

  - Manufacturing

When planning approves a unit to proceed with rework order, manufacturing makes necessary changes to unit to create new item (model) number following all applicable procedures and processes and forms. A list of materials should be provided to planning to make necessary adjustments to maintain estimated materials on form F0008.

7.0	Records:

  - All quality records generated as a result of assembling, testing or inspecting the units are to be compiled at the quality control final inspection area and picked up by personnel in the Logistics (shipping) area. The guideline for the length of retention can be found in the procedure QAP1604 for records.

  - Copies of all training records generated and certifications attained will be turned into Human Resources for retention as stated in QAP1801.